Internal columns are to be reinforced concrete with fine smooth finish and left exposed. Core walls generally to be reinforced concrete with suitable finish to receive stone cladding, ceramic tiles, or plasterboard dry lining, as specified. Concrete walls in plant areas to have plain smooth finish and left exposed. A dust proof treatment is to be provided to all exposed concrete surfaces, including floor slabs below raised access floors. 1/2 Brick protection walls are to be as specified.